## Slide 1: Permeable Concrete on the UT-Austin campus
Albert Bedia
Juan Pablo Gevaudan
Cassandra Pham

## Slide 2: Motivation
What are we interested in?
Why is this issue important?
1
2

## Slide 3: Study Area
Notes: HydroDesign Process
Representation
Objective
Scope

## Slide 4: How Does the Study Area Operate?

## Slide 5: Is the Current Study Area Working Well?
Large stormwater flows
Poor water quality
High concentration of TSS in stormwater
1
2
3

## Slide 6: How Might The Study Area Be Altered?
Permeable Concrete – God of all concrete “hole-y”
Figure of basic components of a porous pavement system

## Slide 7: How Might The Study Area Be Altered?
Implement permeable concrete on parking area sections of Dean Keeton and Speedway
2544 ft2
2776 ft2
2023 ft2
1800 ft2
Total: 9143 ft2

## Slide 8: What Differences would the Changes Cause?
Table of Percent of pollutants removed through use of Permeable Concrete

## Slide 9: What Differences would the Changes Cause?
Notes: Data collected by Dr. Barrett (a professor at our university) was used to calculate a runoff coefficient for a location close to our site, yielding Rv = 0.633 (see Figure 4). We assume that this runoff coefficient is valid for our site as well, and note that the average annual rainfall for Travis County is 32 inches/year (Barrett, 2005).

## Slide 10: Table of Calculation of annual pollutant loads with and without Permeable Concrete
Notes: Our permeable concrete system have the potential to achieve significant reductions in the total annual discharge of the above pollutants. This will result in an improvement of the health of Waller Creek.

## Slide 11: Operation and Maintenance
Stormwater runoff carries particles and sediments
  Clogging occurs
  Reduces the durability of the permeable concrete
Sediments
Stormwater Runoff
Clogging
Reduces Durability
Sediments
Stormwater Runoff
Clogging
Reduces Durability
Sediments
Collected by Stormwater Grates
As a solution  Implementation of Stormwater Grate System

## Slide 12: Simulation Model of Storm Water Grate
Sheet Flow
Storm Water Grate
Permeable Concrete
Stone Reservoir
Front View
Isometric View
Top View

## Slide 13: How Should the Study Area Be Changed?
Water flow

## Slide 14: How Should the Study Area Be Changed?
Discrete Particle Settling: Stoke’s Law
- Assumes Laminar Flow

## Slide 15: How Should the Study Area Be Changed?

## Slide 16: How Should the Study Area Be Changed?
Laminar flow does not represent the actual flow in design

## Slide 17: Summary
Decision - ~9,000 Square Feet of Permeable Concrete
Anticipated key project element – Stormwater Grate to improve durability of permeable concrete
Overall Goal – Reduce stormwater pollutants and flow
Next steps – analyze turbulent flow in the stormwater grates

## Slide 18: Questions?