## Slide 1: Hydrologic Measurement
Precipitation
Evaporation
Streamflow
Channel Properties
Topography
GIS datasets
Reading: Applied Hydrology Chapter 6

## Slide 2: Hydrologic Measurement
Precipitation, Climate, Stream Gaging
Water Quality Sampling

## Slide 3: Precipitation Station
Tipping Bucket Raingage
  The gauge registers precipitation (rainfall) by counting small increments of rain collected.
  When rain falls into the funnel it runs into a container divided into two equal compartments by a partition
  When a specified amount of rain has drained from the funnel the bucket tilts the opposite way.
  The number and rate of bucket movements are counted and logged electronically.

## Slide 4: Tipping bucket rain gage

## Slide 5: Weather/climate station
Following variables are recorded
  Wind velocity/direction
  Rainfall
  Relative humidity and temperature
  Radiation

## Slide 6: Components of a weather station
Anemometer
Radiometer
Tipping bucket raingage
Relative humidity and temperature

## Slide 7: Precipitation (continued)
Snow Pillows
http://wsoweb.ladwp.com/Aqueduct/snow/pillow.htm

## Slide 8: Snow Pillows

## Slide 9: Evaporation pan

## Slide 10: Measuring streamflow

## Slide 11: Streamflow using a boat
Tag line

## Slide 12: Measurement at high flows
Using stream gaging cable car
From bridge

## Slide 13: Acoustic Doppler Current Profiler

## Slide 14: Schematic of a stilling well gaging station

## Slide 15: Pressure transducer gaging station

## Slide 16: Stream Flow Rate
Discharge at a cross-section
Water Surface
Depth
Averaged
Velocity
Height
above
bed
Velocity
Velocity profile in stream

## Slide 17: Example
Colorado River at Austin

## Slide 18: Example (Cont.)
Q = 3061 ft3/s
V = Q/A = 1.81 ft/s

## Slide 19: Rating Curve
It is not feasible to measure flow daily.
Rating curves are used to estimate flow from stage data
Rating curve defines stage/streamflow relationship
http://nwis.waterdata.usgs.gov/nwis/measurements/?site_no=08158000

## Slide 20: National Elevation Dataset
Digital Elevation Model with 1 arc-second (30m) cells
Seamless in 1° blocks for the United States
10 billion data
Derived from USGS 1:24,000 quadrangle sheets
http://seamless.usgs.gov/
Get the data:
http://ned.usgs.gov/

## Slide 21: Digital Elevation Model (DEM)
Contours
720
700
680
740
680
700
720
740
720
720

## Slide 22: Austin West 30 Meter DEM

## Slide 23
32
16
8
64
4
128
1
2
Eight Direction Pour Point Model
Water flows in the direction of steepest descent

## Slide 24: Flow Direction Grid
32
16
8
64
4
128
1
2

## Slide 25: Delineation of Streams and Watersheds on a DEM

## Slide 26: Watersheds of the US
2-digit water resource regions
8-digit HUC watersheds

## Slide 27: Watershed Hierarchy
8 HUC
4
2
6
NHDPlus
10
12
Available
In Progress
Digit #

## Slide 28: Watershed of Brushy Creek
HUC12 number

## Slide 29: LIDAR surveying
LIDAR (Light Detection and Ranging; or Laser Imaging Detection and Ranging) is a technology that determines distance to an object or surface using laser pulses. Like the similar radar technology, which uses radio waves instead of light, the range to an object is determined by measuring the time delay between transmission of a pulse and detection of the reflected signal.

## Slide 30
Airborne Lidar
Airborne laser altimetry technology (LiDAR, Light Detection And Ranging) provides high-resolution topographical data, which can significantly contribute to a better representation of land surface. A valuable characteristic of this technology, which marks advantages over the traditional topographic survey techniques, is the capability to derive a high-resolution Digital Terrain Model (DTM) from the last pulse LiDAR data by filtering the vegetation points (Slatton et al., 2007).
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 31
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 32
x,y,z
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 33
3-D detail of the Tongue river at the WY/Mont border from LIDAR.
Roberto Gutierrez
University of Texas at Austin

## Slide 34
Digital elevation data
Grigno basin, Italy
Resolution 30 m x 30 m
Data source: University of Padova
Tanaro basin, Italy
Resolution 90 m x 90 m
Data source: University of Padova
Tirso basin, Italy
Resolution 100 m x 100 m
Data source: University of Padova
Data resolution available until recently 30-100 m.

## Slide 35
Rio Cordon basin, Selva di Cadore, Italy
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 36
The role of data resolution
DTM 10x10 m
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 37
DTM 1x1 m
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy
The role of data resolution

## Slide 38
Topographic Lidar
Green LiDAR
λ = 532 nm + λ =1064 nm
λ = 1064 nm
It is important to remember that the deep water surfaces normally do not reflect the signal: however this is not true in case of presence of floating sediments or when using bathymetric lidar. The bathymetric lidar, that is based on the same principles as topographic lidar, emits laser beams in two wavelengths: an infrared (1064 nm) and a green one (532 nm). The infrared wavelength is reflected on the water surface, while the green one penetrates the water and is reflected by the bottom surface or other objects in the water. Due to this reason the bathymetric lidar is also called green lidar.
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 39
Fonte: www.optech.ca
During optimal environment condition, when the water is clear, the green lidar survey may reach 50 m water depth with an horizontal accuracy of ±2.5 m, and vertical accuracy of ±0.25 m. This technology is growing fast, and some of the first applications in rivers are coming out (Hilldale and Raff, 2008; McKean et al., 2009).
Slide courtesy of Dr. Paolo Tarolli, University of Padova, Italy

## Slide 40
http://srtm.usgs.gov/

## Slide 41: HydroSheds derived from SRTM
http://hydrosheds.cr.usgs.gov/

## Slide 43
River networks
for 8-digit HUC
watersheds
http://nhd.usgs.gov/

## Slide 45
Lower West Fork, Trinity River Basin
HUC = 12030102

## Slide 46
http://www.ncgc.nrcs.usda.gov/products/datasets/statsgo/
1:250,000 Scale Soil Information

## Slide 47: Ssurgo for Travis County
103 soil map units described by 7530 polygons of average area 35.37 ha (87 acres)

## Slide 48: National Land Cover Dataset
http://seamless.usgs.gov/
Get the data: