## Slide 1: Drought and Water Resources: Texas and San Angelo
David R. Maidment Center for Research in Water Resources University of Texas at Austin
A presentation made for Texas Exes San Angelo, Texas
27 March 2013

## Slide 2: Facing Drought in Texas
Texas population increased by 4.3 million in the last 10 years
  430,000 people per year
  1180 people per day
  An Oklahoma in 9 years
We have a Texas Water Plan but little money to implement it
Legislature is debating House Bill 4 today
The clock is ticking …..

## Slide 3: Drought in Texas – US Drought Monitor
March 2013
July 2011
Texas 96% in drought
10% in D4
Texas 99% in drought
75% in D4
http://droughtmonitor.unl.edu/
In 2011, Texas and Oklahoma had the hottest summer
ever recorded in the history of the United States

## Slide 4: Texas Monthly Drought Special Report July 2012

## Slide 5: Mort Mertz – Drought of the 1950’s (1950-1957)

## Slide 6: San Angelo – Epicenter of the 1950’s Drought
“If you don’t notice this ad,
The drouth is really hurting!”

## Slide 7: Trends in Drought Severity in Texas
2006
2009
2011
2004
2002
2000

## Slide 8: Temperature Outlook for Next Three Months
A means Above normal
with 50% probability

## Slide 9: Precipitation Outlook for Next Three Months
B means Below normal
with 40% probability

## Slide 10
John Nielson-Gammon, 2012; Danny Reible, 2013
What does the longer-term future hold?
Temperature is expected to rise…
whether due to natural variations or anthropogenic causes
As temperatures rise, rain decreases….

## Slide 11: Reservoir Levels (Dec 17, 2012)
http://www.texastribune.org/library/data/texas-reservoir-levels/
West Texas is in a more sustained drought
Notes: West Texas is chronically short of water – reservoirs are either dry or are drying up. Cities are building access to groundwater well fields as fast as possible. East Texas has relatively abundant water resources.

## Slide 12: Normalized Difference Vegetation Index (NDVI)
A measure (0-1) of the greenness of the land surface derived from remote sensing
Vegetative vigor is limited by soil moisture

## Slide 13
Normalized Difference
Vegetation Index
September 30, 2010
Source: 16-day cycle MODIS
UT Center for Space Research
NDVI on September 30, 2010

## Slide 14
Normalized Difference
Vegetation Index
September 30, 2011
Source: 16-day cycle MODIS
UT Center for Space Research
NDVI on September 30, 2011

## Slide 15: Most Recent NDVI Map
http://magic.csr.utexas.edu/ndvi/flexviewer/

## Slide 16: NDVI in Tom Green County
2011
2012
2013

## Slide 17: Water and Electric Power Generation
ERCOT Power Pool
Water flow, level and temperature issues

## Slide 18: Electrical supply is NOT resilient to drought
Power supply in195 counties isolated from rest of US
41% of TX water withdrawals for electricity
77% of water is surface water
3000 MW at risk if drought had not eased in early 2012
Notes: Our power supply is threatened by the possibility of low water conditions inhibiting access to cooling water at some power plants. This could lead to rolling blackouts in Texas (as were being warned by ERCOT in Spring 2012)

## Slide 19: Measuring Gravity Anomaly from Space (GRACE) Force of gravity responds to changes in water volume Water is really heavy!
Gravity Anomaly of Texas, 2002 – 2012
Normal
In 2011, we lost 100 Km3 of water or 70 Lake Travis’s

## Slide 20: GRACE and Texas Reservoir Water Storage
Surface Water Reservoirs
In 2011 we lost 9 Km3 of water from reservoirs
Grace Satellites
Surface water reservoir storage is closely correlated with the GRACE data
In 2011 we lost 100 Km3 of water overall
Normal
Normal

## Slide 21: O.H. Ivie Reservoir
  Owned and operated by the Colorado River Municipal Water District
  Purpose: Water Supply
  Supplies: Odessa, Big Spring, Snyder, Midland, Abilene, San Angelo, Ballinger
  Storage Capacity: 554,339 acre-feet
  Current Storage: 114,000 acre-feet
  2011 Change in Storage: - 82,000 acre-feet (12,000 acre-feet to San Angelo)
M. Bewley

## Slide 22
Drought in West Texas is chronic
1990’s
2000’s

## Slide 23: Lake O.C. Fisher, August 2010

## Slide 24: Lake O.C. Fisher, Jan 2012

## Slide 25: Lake E.V. Spence, August 2010

## Slide 26: Lake E.V. Spence, Jan 2012

## Slide 27: Lake E.V. Spence, Sept 2012
Landsat 7 ETM+
September 19, 2012 at 1210 CDT
15-meter Pan/Visible Color
Processed by the MAGIC DBRS,
Center for Space Research, UT-Austin
Lake E.V. Spence
Robert Lee

## Slide 28: Lake E.V. Spence, Oct 2012
Landsat 7 ETM+
October 21, 2012 at 1211 CDT
15-meter Pan/Visible Color
Processed by the MAGIC DBRS,
Center for Space Research, UT-Austin
Lake E.V. Spence
Robert Lee
Rainfall on September 29, 2012

## Slide 29
San Angelo
Odessa
Midland
Reservoirs

## Slide 30: San Angelo Water Supply Sources
Twin Buttes
Reservoir
O.C. Fisher
Reservoir
O.H. Ivie
Reservoir
City of
San Angelo
Wastewater
reuse for irrigation
Pipeline Under Construction
Regional pipeline (CRMWD)
Hickory Underground
Water District
https://www.arcgis.com/home/webmap/viewer.html?webmap=601cc1486da645b7ad72eb267d5e3775

## Slide 31: San Angelo Water Infrastructure Map
Twin Buttes
Reservoir
(USBR)
O.C. Fisher
Reservoir
(Corps)
Water Treatment Plant
Wastewater Treatment Plant
Lipan Flats irrigation area
Pipeline from O.H. Ivie

## Slide 32: San Angelo Water Demand
Chart: Demand, MGD (Millions of Gallons per Day)
| 40179 | 40211 | 40240 | 40272 | 40303 | 40335 | 40366 | 40398 | 40430 | 40461 | 40493 | 40524 | 40544 | 40576 | 40605 | 40637 | 40668 | 40700 | 40731 | 40763 | 40795 | 40826 | 40858 | 40889 | 40909 | 40941 | 40971 | 41003 | 41034 | 41066 | 41097 | 41129 | 41161 | 41192 | 41224 | 41255 | 41275 | 41307
Demand | 9.81 | 9.179 | 9.896 | 12.231 | 14.241 | 19.431 | 15.857 | 20.779 | 16.265 | 14.628 | 12.849 | 11.474 | 10.84 | 12.23 | 14.086 | 18.086 | 18.323 | 22.671 | 20.669 | 18.279 | 17.727 | 14.375 | 12.25 | 10.29 | 10.169 | 9.521 | 10.269 | 13.108 | 12.778 | 17.478 | 16.37 | 16.16 | 13.35 | 10.28 | 10.68 | 10.14 | 9.84 | 10.01

## Slide 33: San Angelo Water Demand
Chart: Demand, MGD (Millions of Gallons per Day)
| 40179 | 40211 | 40240 | 40272 | 40303 | 40335 | 40366 | 40398 | 40430 | 40461 | 40493 | 40524 | 40544 | 40576 | 40605 | 40637 | 40668 | 40700 | 40731 | 40763 | 40795 | 40826 | 40858 | 40889 | 40909 | 40941 | 40971 | 41003 | 41034 | 41066 | 41097 | 41129 | 41161 | 41192 | 41224 | 41255 | 41275 | 41307
Demand | 9.81 | 9.179 | 9.896 | 12.231 | 14.241 | 19.431 | 15.857 | 20.779 | 16.265 | 14.628 | 12.849 | 11.474 | 10.84 | 12.23 | 14.086 | 18.086 | 18.323 | 22.671 | 20.669 | 18.279 | 17.727 | 14.375 | 12.25 | 10.29 | 10.169 | 9.521 | 10.269 | 13.108 | 12.778 | 17.478 | 16.37 | 16.16 | 13.35 | 10.28 | 10.68 | 10.14 | 9.84 | 10.01
10 MGD
“Base Load” of 10 MGD (70% of total volume)
“Seasonal Load” of 4 MGD (30% of total volume)
San Angelo has a contract for 15,000 acre-ft per year from O.H. Ivie (13.4 MGD)
which was reduced to 12,000 acre-feet in 2011

## Slide 34: Water Demand and Supply
Chart: Demand, MGD (Millions of Gallons per Day)
| 40179 | 40211 | 40240 | 40272 | 40303 | 40335 | 40366 | 40398 | 40430 | 40461 | 40493 | 40524 | 40544 | 40576 | 40605 | 40637 | 40668 | 40700 | 40731 | 40763 | 40795 | 40826 | 40858 | 40889 | 40909 | 40941 | 40971 | 41003 | 41034 | 41066 | 41097 | 41129 | 41161 | 41192 | 41224 | 41255 | 41275 | 41307
Demand | 9.81 | 9.179 | 9.896 | 12.231 | 14.241 | 19.431 | 15.857 | 20.779 | 16.265 | 14.628 | 12.849 | 11.474 | 10.84 | 12.23 | 14.086 | 18.086 | 18.323 | 22.671 | 20.669 | 18.279 | 17.727 | 14.375 | 12.25 | 10.29 | 10.169 | 9.521 | 10.269 | 13.108 | 12.778 | 17.478 | 16.37 | 16.16 | 13.35 | 10.28 | 10.68 | 10.14 | 9.84 | 10.01
6 MGD
9 MGD
Groundwater Supply
With banking
Groundwater supply could support much of the base load
Supplement that with surface water from lakes

## Slide 35: Saline Groundwaters of Texas
Pecos Alluvium

## Slide 36: Largest inland desalination plant in the world Kay Bailey Hutchinson Plant in El Paso (27.5 MGD)

## Slide 37: Conclusions
Drought is a fact of life in Texas
  Especially prevalent in West Texas
The Drought of 2011 continues and we do not know when it will end
Surface water supplies are significantly diminished
Groundwater supply is needed but quality is a challenge
Texas is going to invest $billions in water development