## Slide 1
Estimating the Optimal Location of a New Wind Farm
based on Geospatial Information System Data
Dec.6 2007
Chungwook Sim

## Slide 2
  How does a Wind Turbine Works?
Generating the Power
- Inside the wind turbine
(retrieved from http://green.nationalgeographic.com)
Blades
Low-speed shaft, Gear box, High-speed shaft
Generator

## Slide 3
- Numerical Weather Prediction model
“meso-scale”, “micro-scale”
- Wind Shear Profile
“atmospheric stability”, “roughness”
- Wind Speed at Hub height
- Annual Power prediction
  General Sketch of the Project

## Slide 4
- Understand the stability influential factors of a wind shear profile
“Richardson Number”,
“Monin-Obukhov Length”
- Use GIS to integrate various layers
“Multi-dimensional tools”,
“Spatial-analyst tools”
  Objective of the Project

## Slide 5
- Navier-Stokes and Continuity Equation of the atmosphere
  Physical Concepts of Boundary-Layer Flow
- Reynolds-Averaged Equations and the Turbulent Momentum Flux
- Wind Speed

## Slide 6
- Mixing Length, Friction velocity, roughness length
  Logarithmic Wind Shear Profile

## Slide 7
- Richardson Number and Monin-Obukhov Length
  Thermal Stratification on the Wind Shear Profile
Potential Temperature
Richardson Number
- Monin-Obukhov Length
*** CORRECTION of the Logarithmic Profile

## Slide 8
a) Choose various locations with different terrain conditions in Texas.
>> http://ned.usgs.gov//
>> http://www.geographynetwork.com/
b) Investigate and collect data of the topography and other stability conditions
that can affect the wind power production.
c) Collect climate data of wind speed from NOAA online.
>> http://cdo.ncdc.noaa.gov/CDO/cdo
d) Collect the data of demography or energy consumption to determine
the energy demand of each location.
>>http://landcover.usgs.gov/classes.php
  Data Collection
Data Catalog of National Centers for Enviornmental Prediction (NCEP)
NARR (North American Regional Reanalysis) dataset
>> http://nomads.ncdc.noaa.gov:8085/thredds/catalog/narr/
- The operational model: Eta model
- Resolution: 32 km grid
- Data available: 1979 to current
- Directories: 3 hourly climatologies, daily, monthly
Format of the data (NetCDF)

## Slide 9
  Data Verification- Comparison with TCOON Measurements

## Slide 10
Chart: Time (3 hour average)
| 0.125 | 0.25 | 0.37500000000000039 | 0.5 | 0.62500000000000089 | 0.75000000000000089 | 0.87500000000000089
16m | 0.43333 | 3.5667 | 2.1667 | 3.4333 | 3.8667 | 4.1333 | 3.2333
Chart: Time (3 hour average)
| 0.125 | 0.25 | 0.37500000000000039 | 0.5 | 0.62500000000000089 | 0.75000000000000089 | 0.87500000000000089
507m | 3.3333 | 2.9333 | 3.0667 | 4.0333 | 4.6667 | 4.5667 | 3.6
507c | 3.345 | 2.958 | 2.136 | 1.106 | 0.685 | 1.936 | 2.318 | 1.424
Chart: Time (3 hour average)
| 0.125 | 0.25 | 0.37500000000000039 | 0.5 | 0.62500000000000089 | 0.75000000000000089 | 0.87500000000000089
16m | 0.43333 | 3.5667 | 2.1667 | 3.4333 | 3.8667 | 4.1333 | 3.2333
16c | 2.913 | 2.763 | 2.281 | 1.004 | 0.597 | 1.797 | 2.928 | 1.492
Chart: Time (3 hour average)
| 0.125 | 0.25 | 0.37500000000000039 | 0.5 | 0.62500000000000089 | 0.75000000000000089 | 0.87500000000000089
507m | 3.3333 | 2.9333 | 3.0667 | 4.0333 | 4.6667 | 4.5667 | 3.6
  NARR v.s. TCOON Measurements

## Slide 11
  Spreadsheet of Wind Shear Profile Correction

## Slide 12
  Spreadsheet of Wind Shear Profile Correction
Chart: Wind Shear Profile Correction (Eagle Point Station 507_Sep.2 ,2007)
| 1.6990825032498229 | 2.2148284306388981 | 2.3674508932620544 | 2.4766576524579946 | 2.5620750324982273 | 2.6324451215807945 | 2.6924312157794241 | 2.7448168872763823 | 2.7913975972032432 | 2.8333992738162608 | 2.8716963218439497 | 2.9069343693984742 | 2.9396037135856257 | 2.9700854700967478 | 2.9986817624379998 | 3.0256361480933522 | 3.0511478413335911 | 3.0753818645198581 | 3.0984764511217864 | 3.1205485476325232 | 3.1416979717177784 | 3.1620106021598575 | 3.1815608591315887 | 3.2004136562140277 | 3.2186259536713395 | 3.2362480069008237 | 3.2533243791401794 | 3.2698947699115943 | 3.2859946980262693 | 3.301656068752489 | 3.3169076479506603 | 3.3317754609074868 | 3.34628312977947 | 3.3604521606473732 | 3.3743021889497005 | 3.3878511903332842 | 3.4011156626085581 | 3.4141107834348596 | 3.4268505475197282 | 3.4393478864452409 | 3.4516147736961544 | 3.4636623170301428 | 3.4755008399777445 | 3.4871399539718682 | 3.4985886223706846 | 3.5098552174432434 | 3.5209475712260936 | 3.5318730210253286 | 3.5426384502266464 | 3.5532503249822867
0:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
3:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
6:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
9:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
12:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
15:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
18:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100
21:00 | 1 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100

## Slide 13
  Wind Power of US

## Slide 14
  Conditions at the Great Plain- Richardson Number

## Slide 15
  Conclusions and Future Work
- GIS is useful in integrating a great number of variables
“Map Algebra” with scripts!
- NARR data catalog is useful in estimating climate related topics
“verification required near surface”
- Annual Power prediction v.s. Demand of Power?
“accuracy in wind speed at hub-height”

## Slide 16
  Questions?