## Slide 1: Implications of Heat Wave on Thermoelectric Generation in Texas
Margaret Cook
November 29, 2012

## Slide 2: Introduction and Purpose
Determine the effect of drought and heat wave on the electricity supply for Texas in the next twenty years
Why?
  Power plants using water for cooling cannot discharge water that is too hot into their cooling ponds
    EPA limits on thermal pollution
  If water starts out too hot, power plants can only generate so much electricity before they hit that limit
    Hot water means power plants cannot generate to full capacity
    Makes the energy supply unreliable
  Assessing the risk of reduced operations at thermoelectric power plants will improve planning

## Slide 3: The Research is Confined to Plants with Large Withdrawals in the Gulf Coast HUC-2
Only looking at power plants within the Gulf Coast HUC-2 basin
  Data available for model
  Highest energy generators, industrial users, and populations in Texas
Power plants that withdraw large amounts of water for cooling
  Once-through cooling processes
  Most effected by heat wave and drought
  Confined to available data (only 21 plants)
Notes: OC Once through with cooling pond(s) or canal(s)
OF Once through, fresh water
OS Once through, saline water
RC Recirculating with cooling pond(s) or canal(s)

## Slide 4: Population Centers in Texas Reside in the Gulf Coast HUC-2

## Slide 5: Population Centers in Texas Reside in the Gulf Coast HUC-2

## Slide 6: Population Growth in the Next Twenty Years is in Population Centers and the South

## Slide 7: Highest Densities Will Still be in Population Centers, HUC-2

## Slide 8: Gulf Coast HUC-2 Contains Most of Texas Rivers
Notes: Also has most of the surface water sources in Texas Dam up rivers, create lakes for power plants
Only looking at 21 plants, not all Open and recycled cooling plants in Gulf Coast Basin

## Slide 9: OC, OF, OS, RC Plants Represent a Significant Portion of ERCOT Generation and Water Use
Total OC, OF, OS, RC Electricity generation
  46% of ERCOT capacity
  48% of ERCOT electricity generation
Total OC, OF, OS, RC Water Use
  98% of water withdrawal
  70% of water consumption
These 21, Electricity generation
  21% of ERCOT capacity
  46% of ERCOT electricity generation in 2011
These 21, Water Use
  59% of water withdrawal
  44% of water consumption
Notes: 59% of water consumption = 4.8 trillion gallons/year out of 8.1 trillion

## Slide 10: Most Electricity Generation is Done by Few Power Plants

## Slide 11: Water Consumption is Spread Between Many Power Plants

## Slide 12: Water Withdrawal is Spread Between Many Power Plants

## Slide 13: Water Consumption is Much Less than Water Withdrawal
Notes: Most of water is returned to the river. EPA limit is on water returned to the river.
Might be enough water for a power plant. If too hot, can’t generate. Might be able to generate, but not much.

## Slide 14: A Regression Model using Climate Parameters and Heat from the Power Plant Might Predict Future Problems
Use heat dissipated, temperature, wind, dew point to model effluent discharge temperature 20 years into the future
Compare modeled temperatures to discharge permitted temperatures
Determine the amount of energy generation possible
  Curtailment
  Potential increase
Notes: Parameters effect heat of the water, ability to evaporate– and cool
I used historical values to predict historical data and then used estimated values to predict future data

## Slide 15: In the Future, Texas will still be hot…

## Slide 16
Temperature °F

## Slide 17
Temperature °F

## Slide 18
Temperature °F

## Slide 19
Temperature °F

## Slide 20
Temperature °F

## Slide 21
Temperature °F

## Slide 22
Temperature °F

## Slide 23
Temperature °F

## Slide 24
Temperature °F

## Slide 25
Temperature °F

## Slide 26
Temperature °F

## Slide 27
Temperature °F

## Slide 28
Temperature °F

## Slide 29
Temperature °F

## Slide 30
Temperature °F

## Slide 31
Temperature °F

## Slide 32
Temperature °F

## Slide 33
Temperature °F

## Slide 34
Temperature °F

## Slide 35
Temperature °F

## Slide 36
Temperature °F

## Slide 37
Temperature °F

## Slide 38
Temperature °F

## Slide 39
Temperature °F

## Slide 40
Temperature °F

## Slide 41
Temperature °F

## Slide 42
Temperature °F

## Slide 43
Temperature °F

## Slide 44: When Texas isn’t completely hot…
Notes: When Texas isn’t sweltering over the whole state…

## Slide 45: Most High Temperatures Occur in the Northeastern Part of the State
Notes: The heat is centralized in a belt right around where the huge energy generators/water users are

## Slide 46: The Same Areas of ERCOT at Risk Now Will be at Risk in the Next Twenty Years

## Slide 47: Heat Wave Might Keep Plants from Generating to Capacity
Some power plants will not be able to generate at 2011 levels
  ERCOT max demand in August 2011: 68 GW
Curtailment occurs in highest demand areas
Some power plants will be able to generate more than they did in 2011
If demand increases, more issues will occur

## Slide 48: Plants Might Not be Able to Generate as much as in 2011
Notes: Problem– higher populations, but not as much energy (due to heat)

## Slide 49: Some Electricity Generation Will Need to be Curtailed, More Can be Generated

## Slide 50: Electricity Curtailment and Potential is Near Population Centers

## Slide 51: If Capacity is Increased, More Curtailment Will Occur

## Slide 52: Conclusion
Some power plants will not be able to generate at 2011 levels
If demand increases, more issues will occur
Some power plants will be able to generate more than they did in 2011
Implications for ERCOT planning, state water planning
  More water sources
    Reuse, desalination, aquifer recharge
  Electricity from other power plants
Notes: Water to keep up with demand

## Slide 53: Questions