## Slide 1: Stormwater and Low-Impact Development in San Diego, CA
Mitchel J. Bartolo
November 24, 2015
Source: City of San Diego

## Slide 2: Why We Care #1: Water Cycle
Source: City of San Diego
Chart: Time hrs)
 | 1 | 0 | 0
Infiltration Subsurface storage
Overland flow Streamflow
Source: Minnesota Pollution Control Agency

## Slide 3: Why We Care #2: Pollution
Bacteria/Viruses
Oil and Grease
Sediment/Turbidity
Nutrients (N, P)
Organics
Pesticides
Metals
Source: City of San Diego, NBC San Diego

## Slide 4: Low-Impact Development (LID)
LID reduces imperviousness by replicating natural hydrology
  Addresses both flow and pollution issues
Parking lots, buildings, sidewalks  permeable pavement, green roofs, vegetated swales, bioretention basins

## Slide 5: LID in San Diego

## Slide 6: Study Area-Watershed Analysis
Permebale pavement, bioswales, rain barrels
“Green Street” Pilot: bacteria
Vegetated swales and bioretention basins

## Slide 7: Evaluating LID Effectiveness
Flood Response
  No USGS gage in this watershed
  Precipitation varies: hard to compare
B) Pollution
  San Diego SWPP Program
  Yearly Monitoring Data

## Slide 8
Stormwater Conveyance System
DW0275

## Slide 9: Pollution Monitoring Data
Chart: DW0275
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Enterococcus | 38000 | 96000 | 0 | 540 | 2200 | 2400
Chart: DW0275
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Fecal Coliform | 7000 | 7000 | 0 | 1100 | 630 | 790

## Slide 10: To-Do List
Sort out GIS layer acquisition w/ City of SD
Analyze water quality data for each site
Quanitify flow impacts with HEC-HMS model
  Impervious values, before and after LID
  Compare responses to a fixed storm event

## Slide 11: Questions?