## Slide 1: CE 365K Hydraulic Engineering Design
Concepts using in Exam 1 6 March 2014

## Slide 2: Profession
A profession is a vocation founded upon specialized educational training, the purpose of which is to supply objective counsel and service to others, for a direct and definite compensation, wholly apart from expectation of other business gain
http://en.wikipedia.org/wiki/Profession

## Slide 3: Evolution of Hydraulic Design
Stormwater runoff disposal
  Get the water off the site as quickly and efficiently possible
Stormwater detention
  Slow down the stormwater so that peak flow after development is not more than before
Water Quality Control
  Retain and filter water on site so that bacteria are reduced and water quality improves
Low Impact Development
  Dispersed onsite infiltration, filtration and retention schemes

## Slide 4: Definitions from Miriam-Webster Dictionary (10th Edition)
Design (Verb)
  To mark, to conceive and plan out; to have a purpose; to devise for a function
Design (Noun)
  A deliberate, purposeful plan; the arrangement of elements that go into human production; the underlying scheme
Design as a verb
  How to design something
Design as a noun
  What to design
How is more important than what

## Slide 5: HydroDesign Process
How should the study area be described?
How does the study area operate?
Is the current study area working well?
How might the study area be altered?
What differences would the changes cause?
How should the study area be changed?
Representation
Process
Evaluation
Change
Impact
Decision

## Slide 6: Airborne LIDAR coverage of Dean Keaton St and surroundings
CrossSection 56
Location

## Slide 7: Triangulated Irregular Network (TIN) for part of Dean Keaton St

## Slide 8: Road CrossSections from LIDAR
Airborne LIDAR (ft)
(City of Austin data)
Vehicle LIDAR (m) (Mandli Communications)
Location 5-6 is shown
in previous slides
Its clear that the vehicle-based
LIDAR gives a better definition
of the road Cross-Section

## Slide 9: Intensity-Duration-Frequency Curves
Chart: Duration (Mins)
| 5 | 15 | 30 | 60 | 120 | 180 | 360 | 720 | 1440
2-yr | 5.76 | 3.92 | 2.64 | 1.72 | 1.08 | 0.773 | 0.445 | 0.255 | 0.143
5-yr | 7.39 | 5.04 | 3.42 | 2.28 | 1.45 | 1.04 | 0.593 | 0.339 | 0.208
25-yr | 10.1 | 7.04 | 4.72 | 3.28 | 2.1 | 1.52 | 0.857 | 0.492 | 0.318
100-yr | 12.5 | 9.16 | 6.08 | 4.37 | 2.83 | 2.04 | 1.14 | 0.663 | 0.424

## Slide 10: ECJ Pipe Drainage

## Slide 11: Sheet Flow
1 ft
A
B
A
B
v
L
Rainfall intensity, i
L
y
q, discharge per unit width
q = iL = vy
s
1

## Slide 12: Gutter Flow
d
T
Sx
1
Q = flow in gutter (cfs)
Cf = coefficient (0.56 for US units, 0.376 for SI units
So = longitudinal slope
T = spread (ft)
Sx = transverse slope
Ref: SCMD p. 372

## Slide 13: Flow into a Curb Inlet
LT = required length to intercept all flow (ft)
Q = flow in gutter (cfs)
Cf = coefficient (0.60 for US units, 0.817 for SI units)
So = longitudinal slope
T = spread (ft)
Sx = transverse slope
Ref: SCMD p. 393
E = efficiency (proportion of flow captured
L = actual length (ft) (for L < LT)
LT